## Slide 1: DEVELOPMENT OF A LOW-COST ARDUINO BASED POTENTIOSTAT
By
P106/0689G/20
CHERONO BRENDA

## Slide 2: Introduction
A Potentiostat is a device used to control and measure the voltage and current in electrochemical experiments.
It is essential for applications in biosensors, material science, and environmental monitoring.
Commercial Potentiostats are expensive, limiting access for education and small-scale research.
It’s aim is to develop a low cost, Arduino based potentiostat that is affordable and efficient.

## Slide 3: Objectives
General Objectives
To develop a cost-effective potentiostat using readily available components.
Specific Objectives
Design and assemble the hardware for the potentiostat.
Develop firmware to control the potentiostat’s functions.
Test the device against standard electrochemical techniques.
Evaluate performance compared to commercial potentiostats.

## Slide 4: Literature Review
Research show that traditional potentiostats are prohibitively expensive for smaller institutions.
There is a need for a simple , low cost potentiostat that maintains accuracy while being easy to assemble and operate.
Arduino provides a cost effective platform with robust support for prototyping and customization. It bridges the gap between affordability and functionability in electrochemical device development.

## Slide 5: Methodology
Hardware Development
Components: Arduino microcontroller, operational amplifiers, resistors, capacitors,and voltage regulators.
Circuit Design: Based on a three-electrode system(Working, Reference, and Counter electrodes).
2. Software Development
Firmware written in Arduino IDE to:
Control voltage output.
Measure current and record data.
Interface with a computer for real-time monitoring.
3. Testing and Calibration
Perform Cyclic Voltammetry(CV) and compare with commercial devices.

## Slide 6: Materials
Hardware Components
Arduino Uno or Nano microcontroller
Operation amplifiers(e.g., LM358 or TL081)
Digital to Analog Converters(DAC) module
Resistors, capacitors, and connectors
Voltage regulator(e.g., LM7805)
Additional Tools:
Breadboard and jumper wires for prototyping
Soldering kit for final assembly
Software:
Arduino IDE (open-source programming environment)
Data analysis tools (e.g., Excel)
Serial communication interface for real-time monitoring and data logging.

## Slide 7: Results and Evaluation
Performance Tests:
Conduct Cyclic Voltammetry experiments using standard solutions such as potassium ferricyanide.
Record stable current-voltage curves and compare with data from commercial potentiostats.

## Slide 8: Proposed Budget
Material | Cost (KES)
Arduino microcontroller | 2000
Operational amplifiers | 500
Digital-to-Analog Converter | 1500
Resistors and capacitors | 1000
Voltage regulator | 500
Breadboard and wires | 1500
Soldering kit | 2000
Testing chemicals | 6500
Miscellaneous items | 4500
Total | 20000

## Slide 9: Benefits and Applications
Benefits:
Affordable and accessible.
Promotes education and small-scale research.
Open-source design for customization.
Applications:
Biosensing (e.g., glucose monitoring)
Environmental testing(e.g., water quality analysis).
Material characterization(e.g., corrosion studies)

## Slide 10: Conclusion
This project successfully demonstrated the development of a low-cost Arduino-based potentiostat.
By providing a cost-effective and accessible solution, this design opens opportunities for widespread application in education, research, and industry.
Future enhancements could further expand it’s functionality and usability, driving innovation in electrochemical studies.